## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, Electricity Distribution Circle-I Muzaffarnagar
Name of Work: Under the work area of Executive Engineer, Electricity Distribution Division-I, Muzaffarnagar, under the Business Plan 2024-25, Construction of 63 KVA double pole due to overloading of 100 KVA distribution transformer installed near the primary school in village Nunakheda, Construction of 63 KVA double pole due to overloading of 100 KVA distribution transformer installed on the crematorium road in village Mandi, Construction of 63 KVA double pole due to overloading of 100 KVA distribution transformer installed at village-Kutba Phuliwala, Construction of 63 KVA double pole due to overloading of 100 KVA distribution transformer installed near village-Palda Madrasa, Construction of 25 KVA double pole due to overloading of 100 KVA distribution transformer installed on the private tube well of Shri Kisna son of Khajan Village-Pinna, Construction of 25 KVA double pole due to overloading of 100 KVA distribution transformer installed on the private tube well pair of Shri Prithvi son of Shri Indra in Village-Bhamela, Construction of 25 KVA double pole due to overloading of 100 KVA distribution transformer installed on the private tube well pair of Shri Genda son of Shri Sadak in village Jasoi, Construction of 25 KVA double pole due to overloading of 100 KVA distribution transformer installed on the private tube well pair of Shri Uday Singh Son of Shri Kallu in village Nangla Pithora, Construction of 25 KVA double pole due to overloading of 100 KVA distribution transformer installed on the private tube well pair of Shri Nafees son of Shri Rafiq in village Chhataila, Construction of 25 KVA double pole due to overloading of 100 KVA distribution transformer installed on the private tube well pair of Shri Harvinder, son of Shri Giriraj in village Budhinakala, Construction of 25 KVA double pole due to overloading of 63 KVA distribution transformer installed on the private tube well pair of Shri Raghuveer, son of Shri Dungar in village Budhinakala, Construction of 63 KVA double pole due to overloading of 100 KVA distribution transformer installed near the wine shop in village Saidpura, Construction of 63 KVA double pole due to overloading of 100 KVA distribution transformer installed on the river road in village Lakhan, Providing of 01 no. trolley for 250 KVA distribution transformer to maintain smooth power supply in emergency situation in IPDS Town Bhokarhedi & Providing of 01 no. trolley for 250 KVA distribution transformer to maintain smooth power supply in emergency situation in IPDS Town Sisouli, should be work is being done by an external agency.
Contract No: 195/2023-24/EDC-I/MZN
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Excluding GST | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | The work of delivering following material from the Departmental store center to the site in which includes loading and unloading on both sides. (distance 0 to 50 km) | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | 25 KVA Distribution Transformer |  | 7 | No | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.02 | 63 KVA Distribution Transformer |  | 6 | No | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | 250 KVA Distribution Transformer |  | 2 | No | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | PCC Pole 8.5 Meter |  | 47 | No | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.05 | LT XLPE Cable 3.5x150 Sqmm |  | 35 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.06 | ACSR Weasel Conductor |  | 2345 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.07 | LT ABC 3x95+1x70+1x16 Sqmm |  | 765 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.08 | LT XLPE CABLE AL. 1x240 Sqmm |  | 60 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.09 | HT XLPE CABLE 3x70 Sqmm |  | 140 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.1 | 11 KV FUSE SET |  | 4 | No | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.11 | 3Ph Distribution Box |  | 4 | No | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.12 | LINE MATERIAL (Insulator, Disc, X-Arm, ANGLE, CHANNEL ETC.) |  | 25 | Quintal | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2 | Complete work of installing the electrical material received from the store center at the site. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | Complete work of Laying/Installing ACSR WEASEL CONDUCTOR on the Established electric poles installed as per RESPO norms. |  | 2345 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.02 | Complete work of LT ABC 3x95+1x70+1x16 Sqmm on the Established electric poles installed as per RESPO norms. |  | 765 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.03 | Work of Fixing/Installing Single Pole of the PCC Pole installed at the site support with proper alignment & upto depth of one sixth of length of pole with proper fabrication as per RESPO standards. Which includes installation of all accessories like pin/disc insulator, angle channel etc. and decentralized material will be provide by the Contractor/Firm. |  | 21 | No | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.04 | Work of Fixing/Installing Double Pole of the PCC Pole installed at the site support with proper alignment & upto depth of one sixth of length of pole with proper fabrication as per RESPO standards. Which includes installation of all accessories like pin/disc insulator, angle channel etc. and decentralized material will be provide by the Contractor/Firm. |  | 13 | No | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.05 | Complete work of Installing and Commissioning 25 KVA Distribution Transformer on Established Double pole as per RESPO standards. |  | 7 | No | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.06 | Complete work of Installing and Commissioning 63 KVA Distribution Transformer on Established Double pole as per RESPO standards. |  | 6 | No | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.07 | Painting work of MOBILE TROLLY (250 KVA DT TF) , 1 Coat RED OXIDE Paint & 2 Coat Enamel Paint and decentralized material (Paint/Colour) will be provide by the Contractor/Firm. |  | 2 | JOB | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.08 | Complete work of installing 250 KVA distribution transformer on the trolley, completing the connections and other necessary work, after Installing DT TF on the trolly and taking the mobile trolley to 33/11 KV sub-station was completed and decentralized material will be provide by the Contractor/Firm. |  | 2 | JOB | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.09 | Complete work of Installing and Commissioning LT 3P Distribution Box as per RESPO standards. |  | 4 | No | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.1 | Complete work of Installing and Commissioning 11 KV Fuse Set as per RESPO standards. |  | 4 | No | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.11 | Complete work of installation of Stay Set Complete on Established Double pole & Single Pole of Line As per the RESPO standards. |  | 26 | No | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.12 | Complete work of Pole concreting on Established Double Pole / Single Pole as per RESPO standards. In which cement, sand and other necessary decentralized material will be provide by the Contractor/Firm. |  | 47 | Per Pole | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.13 | Complete work of Earthing completing with earthing road of Established Pole as per RESPO standards. In which decentralized material will be payable by the Contractor/Firm. |  | 25 | Per Pole | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.14 | Supply of NUT & BOLT as per RESPO standards |  | 107 | K.G. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.15 | Supply of DEAD & CLAMP as per RESPO standards |  | 10 | No | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.16 | Supply of SUSPENSION CLAMP as per RESPO standards |  | 25 | No | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.17 | Supply of AL. CRIMPING LUGS as per RESPO standards |  | 40 | No | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.18 | Supply of MOBILE TROLLY for 250 KVA Distribution Transformer |  | 2 | No | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.19 | SUNDRIES ITEMS |  | 4 | JOB | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information