## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer Electricity Distribution Circle-II, Saharanpur
Name of Work: fo¦qr forj.k [k.M&f}rh;] lgkjuiqj ds dk;Z{ks= esa fctusl Iyku ;kstuk 2023&24 ds vUrxZr 33@11 ds0oh0 fo¦qr midsUnz dSyk’kiqj ls iksf”kr xzke&xkxysgMh esa ,0ch0,l0 Ldwy ds ikl yxs 400 dsoh0,0 ifjorZd ds vfrHkkfjr gkus ds dkj.k vyx ls 250 ds0oh0,0 djus dk dk;ZA
Contract No: 24/W/EDC-II/SRE/2024-25
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )GST as applicable shall be paid extra
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Qty. |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Detail of Work | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Safely carriage of PCC poles (8.5 Mtr. Long) from ESC, SRE to site of work including loading & unloading at both ends.. |  | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Safely carriage of other complete line material (Except PCC Poles) from ESC, SRE to site of work including loading, unloading at both ends |  | 1 | Ton |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Safely carriage of New 250 KVA T/F from ESC, SRE, to the site of work including loading & unloading at both ends. |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | Erection of double pole support with PCC poles (8.5 Mtr. Long) with complete fitting and all accessories of 11KV/LT Line. |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.05 | Providing of Aluminium lug 400Amp. |  | 4 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.06 | Providing Stay set 16x 1800 mm complete.. |  | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.07 | Providing MS Channel 125x65x6 mm. |  | 60 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.08 | Providing G.I wire 8 SWG. |  | 10 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.09 | Providing of all Type Clamp for PCC poles new MS flat size 50x6 mm with nut and bolts. |  | 14 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.1 | Concreting of PCC Pole with in block of 600x600x1500 mm in ration 1:4:8 with cement sand and Brick ballast size 1x1.5” with plinth |  | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.11 | Grouting of 11 KV stay rods by digging of pits in block of 600X600X300 mm. and nozzling of stay wire 7/10 SWG and fitting the same on the pole |  | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.12 | Constriction of plinth for installation of 250 KVA T/F of size 1.5x1.5x1 mtr made of 9”inch thick wall in all four sides with 6”inch thick RCC Top duly filled with sand and plastering the brick wall outer surfaces with 12mm thick in ratio 1:4 with cement and sand as per RESPO Specification. |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.13 | Safely installation of New 250 KVA T/F on the plinth with proper alignment and Complete fitting including making connection and commissioning |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.14 | Laying, lifting, Stringing, sagging jumpring & binding of ACSR Rabbit Conductor for 11KV/LT Line as per RESPO specification. |  | 40 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.15 | Earthing of 250 KVA T/F (1 No body & 1 No. neutral earthing) by boring 60 fit deep with providing & fixing of G.I pipe 1½” Dia (Jindal Class B) and connecting with G.I. Strip of size 40x5 mm and G.I wire at bottom of G.I pipe to the T/F providing of required charcoal & salt in the pipe |  | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.16 | Providing & Making of Wiremesh fencing size 2.5x2.5x2.5 mtr with grouting making frame of MS angle 40x40x6 mm and fixing four no MS strip size 25x6 mm at equal distance in between the frame and fixing square mesh of 50 mm squre in each frame the fencing should cover all side of T/F with providing 1 no door size 6x3 with sitakni & dandala with green paints (British/Asian/enamel paints) |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information