## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer Electricity Distribution Circle-II, Saharanpur
Name of Work:fo¦qr forj.k [k.M&f}rh;] lgkjuiqj ds vUrxZr fo¦qr forj.k mi[k.M dSyk’kiqj ds dk;Z{ks= esa iw.kZ tek ;kstuk ds vUrxZr 33@11 ds0oh0 fo¦qr midsUnz] dSyk’kiqj ls iksf”kr xzke dSyk’kiqj] nsgjknwu jksM] lgkjuiqj esa vkosnudrkZ Jh lejthr <VbZ iq= Jh jke d`”.k <VbZ dks 02 fd0ok0 dk u;k okf.kfT;d l;kssatu fuxZr djus dk dk;Z] 33@11 ds0oh0 fo¦qr midsUnz] gjkSMk }kjk iksf”kr xzke vejiqj mQZ csxeiqj] xkxygsMh&Hkxokuiqj jksM] lgkjuiqj esa vkosnudrkZ eS0 ,l0,y0 QkeZ izk0 fy0 ds;j vkWQ vdqaj ekgs’ojh dks 51 ds0oh0,0 dk u;k vkS¦ksfxd l;ksatu fuxZr djus dk dk;Z] 33@11 ds0oh0 fo¦qr midsUnz] gjkSMk ls iksf”kr xzke :.<kyh esa egkizcU/kd uxj fuxe ¼ty thou fe’ku½ dks ikuh dh Vadh gsrq 10 fd0ok0 dk u;k l;ksatu fuxZr djus dk dk;Z ,oa 33@11 ds0oh0 fo¦qr midsUnz] dSyk’kiqj }kjk iksf”kr xkxygsMh] nsgjknwu jksM] lgkjuiqj esa eS0 fVªeSDl bathfu;fjax dalyVsUV }kjk Jh lqfQ;ku vyh dks 05 fd0ok0 dk u;k vkS¦fxd l;kssatu fuxZr djus dk dk;ZA
Contract No: 38/w/EDC-II/SRE/2024-25
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )GST as applicable shall be paid extra
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Qty. |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Detail of Work | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Safely carriage of PCC/ST poles (up to 11 Mtr. long) from ESC, SRE to site of work including loading & unloading at both ends. |  | 19 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Safely carriage of other complete line material LT ABC/Weasel conductor (Except PCC/ST Poles) from ESC, SRE/ JE store to site of work including loading, unloading at both ends. |  | 2 | Ton. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Safely carriage of 25/63 KVA T/F from ESC,SRE, to the site of work including loading & unloading at both ends. |  | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.04 | Erection of single support on PCC/ ST poles ( up to11 Mtr.) Long with complete fitting of all accessories of 11 KV/LT line. complete. |  | 11 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.05 | Erection of double Pole on PCC/ ST poles (up to11 Mtr.) Long with complete fitting with all accessories complete. |  | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.06 | Fixing of stay rods by digging of pits in block of 600X600X300 mm. & with new brick and nozzling of stay wire 7/10 SWG and fitting the same on the pole |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.07 | Supply of Earthing rod with complete fitting with all accessories. |  | 7 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.08 | Earthing of poles by earthing rod. |  | 19 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.09 | Supply of nuts & bolts off size. |  | 15 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.1 | Supply of All Type clamps for PCC & ST poles made of new MS flat size 50x6 mm with nut bolts. |  | 38 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.11 | Laying, lifting, Stringing, sagging & jumpring with binding of ACSR Weasel Conductor for 11KV/LT Line. |  | 1980 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.12 | Concreting of PCC/ST Pole up to 11 Mtr. Long with cement concreting in block of 600x600x1500 mm in ration 1:4:8 with cement sand and Brick ballast size 1x1.5" |  | 19 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.13 | Safely installation of 25/63 KVA T/F on the double pole with complete fittings including making all connections and commissioning. |  | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.14 | Laying, lifting, Stringing, Proper sagging ABC cable of size 3x50+1x35+1x16 sq mm. including fixing of all accessories. |  | 20 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.15 | Chopping of tree branches of 11 KV/LT line |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information