## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, Electricity Distribution Circle-I Muzaffarnagar
Name of Work: Under the work area of Executive Engineer, Electricity Distribution Division-II, Muzaffarnagar, under the Business Plan 2024-25, 33 KV VCB of 02no., 01 no., 01 no. installed at 33/11 KV sub-station Khedi dudhadhari, 33/11 KV sub-station Chokda, 33/11 KV sub-station Kulhedi 33 KV VCB and Control Pannel not working properly, providing new goods in place of the damaged goods and complete work of commissioning, 33/11 KV sub-station Charthawal IPDS, 33 KV Control Pannel not working properly, providing new goods in place of the damaged goods and complete work of commissioning, 11 KV VCB of 01 no., 01 no., 01 no. installed at 33/11 KV sub-station Kutesra, 33/11 KV sub-station Charthawal & 33/11 KV sub-station Biralsi 11 KV VCB not working properly, providing new goods in place of the damaged goods and complete work of commissioning, 33 KV VCB of 01-01 no. installed at 33/11 KV sub-station Biralsi & 33/11 KV sub-station Kutesra, 33 KV VCB & Control Pannel not working properly, providing new goods in place of the damaged goods and complete work of commissioning, Replacement of Old/Damage 11 KV Vaccum interuptor installed at Various 33/11 KV sub-station installation and commissioning work, 33 KV TPMO installed at 33/11 KV sub-station Doodhli, Sandhawali & Dinkarpur not working properly, providing new goods in place of the damaged goods and complete work of commissioning, Replacement of Old/Damage Radiator Power TF no. 05 installed at 33/11 KV sub-station Sandhawali installation and commissioning work, Replacement of Old/Damage Bus Isolator & Lightning Arrester installed at 33/11 KV sub-station Pura, Karwada installation and commissioning work, Replacement of Old/Damage 33 KV CT installed at 33/11 KV sub-station Charthawal IPDS installation and commissioning work, Replacement of Old/Damage 33 KV Fuse set at 33/11 KV sub-station Biralsi & Kutesra and 33 KV Lightning Arrester & Fire Extinguisher 5 K.G. installation and commissioning work, the work to be done through external agency.
Contract No: 221/2023-24/EDC-I/MZN
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Excluding GST | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | The work of delivering following material from the Departmental store center to the site in which includes loading and unloading on both sides. (distance 0 to 50 km) | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | 33 KV BUS ISOLATOR 800 Amp. |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.02 | 33 KV LINE ISOLATOR 800 Amp. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | 33 KV LIGHTNING ARRESTAR |  | 18 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | 33 KV CT 200/100/01 Amp. |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.05 | 33 KV CT 100/100/01 Amp. |  | 5 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.06 | 33 KV FUSE SET |  | 2 | SET | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Complete work of installing the electrical material received from the store center at the site. All Necessary Decentralized material will be provide by the Contractor / Firm. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | Complete work of installation and commissioning of new 33 KV BUS ISOLATOR 800 Amp. at 33/11 KV sub-station. as per RESPO standards. |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.02 | Complete work of installation and commissioning of new 33 KV LINE ISOLATOR 800 Amp. at 33/11 KV sub-station. as per RESPO standards. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.03 | Complete work of installation and commissioning of new 33 KV LIGHTNING ARRESTAR at 33/11 KV sub-station. as per RESPO standards. |  | 18 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.04 | Complete work of Removal of old / damaged 33 KV CT installed at 33/11 KV sub-station and installation and commissioning of new 33 KV CT 200/100/01 Amp. as per RESPO standards. |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.05 | Complete work of Removal of old / damaged 33 KV CT installed at 33/11 KV sub-station and installation and commissioning of new 33 KV CT 100/100/01 Amp. as per RESPO standards. |  | 5 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.06 | Complete work of Removal of old / damaged 33 KV FUSE SET installed at 33/11 KV sub-station and installation and commissioning of new 33 KV FUSE SET. as per RESPO standards. |  | 2 | SET | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.07 | Providing and Installation on wall of Fire Extinguisher 5 K.G. (ISI Mark or high standard) at 33/11 KV sub-station. as per RESPO standards. |  | 18 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | 33 KV VCB & CONTROL PANNEL REPAIR & MAINTENANCE WORK, The material provided should be of ISI Mark or high standards. All Necessary Decentralized material will be provide by the Contractor / Firm. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | Complete reparing of tripping mechanism system and replacement of lever, bush, spring, nuts etc. of 33 KV VCB. |  | 7 | JOB | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.02 | Providing of 2.5 mm PVC Copper wire Lugs etc. and replacement of damaged burnt wireing Complete for 33 KV VCB. |  | 7 | JOB | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.03 | Providing and Fixing of damage tripping coil complete of 33 KV VCB. |  | 14 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.04 | Providing and Fixing of damage charging gerari and non-return bearing complete for 33 KV VCB. |  | 7 | JOB | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.05 | Providing and Fixing of Local remote switch suitable for 33 KV VCB. |  | 7 | JOB | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.06 | Providing and fixing of 63 Amp. Kit-Kat with Tubler fuse 09 nos., Indicator Lamp 06 nos. Complete suitable for 33 KV VCB. |  | 7 | JOB | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.07 | Providing and fixing of Copper felexable bus-bar complete suitable for 33 KV VCB. |  | 10 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.08 | Providing and fixing of Digital Amp. Meter/Volt Meter suitable for 33 KV VCB. |  | 8 | NO | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.09 | Complete repairing of 33 KV VCB Moter and gerari for 33 KV VCB. |  | 7 | JOB | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.1 | Complete overhauling proper connection & providing and fixing of missing nut & bolts and proper functioning of 33 KV VCB. |  | 7 | JOB | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.11 | Repairing of Earth fault relay for 33 KV Control Pannel. |  | 8 | JOB | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.12 | Repairing of Master Relay for 33 KV Control Pannel. |  | 8 | JOB | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.13 | Providing and Fixing of Handling and pumping Relay for 33 KV Control Pannel. |  | 8 | JOB | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.14 | Providing and Fixing of indicator Lamp 08 nos. of different colour and Kit-Kat 08 nos. complete for 33 KV Control Pannel. |  | 8 | JOB | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.15 | Providing and laying of 4x2.5 mm control cable from 33 KV VCB to Control pannel macking proper connection. |  | 1700 | MTR. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.16 | Complete Repairing & Proper Connection and proper Functioning of 33 KV Control Pannel. |  | 8 | JOB | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | 11 KV VCB REPAIR & MAINTENANCE WORK & 11 KV Vaccum interuptor installation, The material provided should be of ISI Mark or high standards. All Necessary Decentralized material will be provide by the Contractor / Firm. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.01 | Complete reparing of tripping mechanisum system and replacement of lever, bush, spring etc. of 11 KV VCB. |  | 3 | JOB | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.02 | Complete reparing of jack and replacement of jack bush, lever, bearing and jack rod complete suitable for 11 KV VCB. |  | 3 | JOB | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.03 | Providing and fixing of epoxy spout complete with copper contact suitable for 11 KV VCB. |  | 9 | JOB | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.04 | Providing of 2.5mmsq. PVC Copper wire and replacement of damaged burnt wiring complete of 11 KV VCB. |  | 3 | JOB | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.05 | Providing and fixing of trolly contact made of copper suitable for 11 KV VCB. |  | 18 | NO | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.06 | Providing and replacement of damage tripping coil complete of 11 KV VCB. |  | 6 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.07 | Providing and fixing of damaged intruptor connection rod made of glass fiber suitable for 11 KV VCB. |  | 15 | NO | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.08 | Providing and fixing of metering and protection C.T. ratio 600/300/5 or 300/150/5 amp. Suitable for 11 KV VCB. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.09 | Providing and fixing of charging Gerari & non return bearing complete of 11 KV VCB. |  | 3 | JOB | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.1 | Complete overhauling proper connection & providing and fixing of missing nut & bolts and proper functioning of 11 KV VCB. |  | 3 | JOB | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.11 | Providing and replacement of 11 KV Vaccum interuptor (Steal Make) with opening of old and Refixing the same and proper connection of 11 KV VCB. |  | 5 | JOB | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.12 | Providing and replacement of 11 KV Vaccum interuptor (Crompton Make) with opening of old and Refixing the same and proper connection of 11 KV VCB. |  | 5 | JOB | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.13 | Providing and replacement of 11 KV Vaccum interuptor (Toshiba Make) with opening of old and Refixing the same and proper connection of 11 KV VCB. |  | 5 | JOB | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.14 | Providing and replacement of 11 KV Vaccum interuptor (BHEL Make) with opening of old and Refixing the same and proper connection of 11 KV VCB. |  | 5 | JOB | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.15 | Complete Reparing work of 33 KV TPMO with opening and Refixing the same and proper connection. |  | 10 | NO | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.16 | Complete work of Removal of old / damaged RADIATOR for 05 MVA POWER TF installed at 33/11 KV sub-station and installation and commissioning of new RADIATOR for for 05 MVA POWER TF. as per RESPO standards. |  | 4 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | As per rules, the work of delivering the old material includes loading and unloading on both sides from the site to Store Center Muzaffarnagar. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
5.01 | RADIATOR (SCRAP/DAMAGE) |  | 150 | KG | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5.02 | 33 KV CT 200/100/01 (SCRAP/DAMAGE) |  | 3 | NO | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5.03 | 33 KV CT 100/100/01 (SCRAP/DAMAGE) |  | 5 | NO | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5.04 | 33 KV FUSE SET (SCRAP/DAMAGE) |  | 2 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information