## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY DISTRIBUTION CIRCLE, A-BLOCK, HYDEL COLONY, KAVI NAGAR, GHAZIABAD.
Name of Work:
Tender No. /2023-24/E.D.C/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 5 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 8 | 8
1 | Safe Cartage of Centralized Line Material from Store center Modinagar/any other place to JE Store/Site of work including loading and unloading at both end.
1.01 | LIGHTENING ARRESTOR 33 KV |  | 30 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.02 | 33 KV CABLE J/KIT 3X300 SQ MM ST THROUGH |  | 12 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.03 | 11 KV CABLE J/KIT 3X185 SQ MM ST THROUGH |  | 32 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.04 | 33 KV CABLE J/KIT O/D 3X300 SQ MM |  | 16 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.05 | 11 KV CABLE J/KIT 3X300 SQ MM ST THROUGH |  | 4 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.06 | 11 KV CABLE J/KIT 3X120 SQ MM ST THROUGH |  | 4 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.07 | 11 KV CABLE J/KIT O/D 3X300 SQ MM |  | 4 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.08 | 11 KV CABLE J/KIT O/D 3X185 SQ MM |  | 16 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.09 | 11 KV CABLE J/KIT O/D 3X120 SQ MM |  | 4 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.1 | 11 KV CABLE J/KIT O/D 3X70 SQ MM |  | 8 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.11 | 33 KV LINE ISOLATOR |  | 1 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.12 | PT 11/0.110 KV 3 PHASE |  | 1 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.13 | BATTERY CHARGER |  | 7 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.14 | BATTERY SET 24 V WITH FITTING |  | 14 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.15 | VACCUME INTREPTOR |  | 76 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.16 | 11 KV CT 600/300/5 |  | 10 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.17 | 11 KV CT 400/200/5 |  | 32 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.18 | 11 KV CT 300/150/5 |  | 22 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.19 | 33 KV BUS ISOLATOR |  | 1 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.2 | 33 KV LINE ISOLATOR |  | 4 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.21 | FUSE SET 33 KV |  | 28 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.22 | FUSE SET 11 KV |  | 350 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.23 | 33 KV SINGLE TF CONTROL PANEL |  | 1 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.24 | 3 PHASE DISTRIBUTION BOX |  | 550 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2 | Safe Cartage of Centralized Line Material of Safety Equipment from Store center Modinagar/any other place to JE Store/Site of work including loading and unloading at both end.
2.01 | HELMET WITH CENSOR |  | 28 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.02 | FIRE EXTUINGISHER WITH CYLENDOR |  | 14 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.03 | TORCH(BIG) |  | 16 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.04 | WALL MOUNTED PRIMARY FIRST AID BOX(WITH MATERIAL) |  | 14 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.05 | FIRE SAFETY STAND (WITH 4 BUCKET) |  | 14 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Providing & SafeCartage of Decentralized Line Material from any other place to JE Store/Site of work including loading and unloading at both end.
3.01 | 33 KV LINE ISOLATOR STRUCTURE |  | 1 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.02 | MAGGER |  | 14 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.03 | LT LEAD FOR DISTRIBUTION BOX |  | 1000 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.04 | CLAMP WITH NUT & BOLT |  | 200 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.05 | Reparing of over halling of capicitor bank including providing and fixing of required material |  | 7 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Providing of Relay and Replacement of Different MakeandProper Completion of Work as per RESSPO Manual.
4.01 | ELECTRONICS RELAY |  | 4 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.02 | MASTER TRIP RELAY ABB MAKE |  | 2 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Replacement/Installation of Various Items at Substation and Proper Completion of Work as per RESSPO Manual
5.01 | LIGHTENING ARRESTOR 33 KV |  | 26 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.02 | 33 KV LINE ISOLATOR |  | 1 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.03 | 33 KV LINE ISOLATOR STRUCTURE COMPLETE |  | 1 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.04 | PT 11/0.110 KV 3 PHASE |  | 1 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.05 | BATTERY CHARGER |  | 7 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.06 | BATTERY SET 24 V WITH FITTING |  | 14 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.07 | 33 KV BUS ISOLATOR 800 A |  | 1 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.08 | 33 KV LINE ISOLATOR 800 A |  | 4 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.09 | FUSE SET 33 KV |  | 28 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.1 | 33 KV SINGLE TF CONTROL PANEL |  | 1 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Providing and Complete Installation of Tail Less Unit and MCCB at different type of DT and Proper Completion of Work as per RESSPO Manual
6.01 | TAIL LESS UNIT |  | 340 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.02 | 4 CORE LT MCCB WITH BOX |  | 50 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Filling of 11 KV XLPE Cable Box and ST Through and Proper Completion of Work as per RESSPO Manual.
7.01 | 33 KV CABLE J/KIT O/D 3X300 SQ MM |  | 16 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.02 | 33 KV CABLE J/KIT 3X300 SQ MM ST THROUGH |  | 5 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.03 | 11 KV CABLE J/KIT 3X300 SQ MM ST THROUGH |  | 4 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.04 | 11 KV CABLE J/KIT 3X185 SQ MM ST THROUGH |  | 18 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.05 | 11 KV CABLE J/KIT 3X120 SQ MM ST THROUGH |  | 4 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.06 | 11 KV CABLE J/KIT O/D 3X300 SQ MM |  | 6 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.07 | 11 KV CABLE J/KIT O/D 3X185 SQ MM |  | 16 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.08 | 11 KV CABLE J/KIT O/D 3X120 SQ MM |  | 4 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.09 | 11 KV CABLE J/KIT O/D 3X70 SQ MM |  | 8 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Providing of Pipe and Chemical Earthing and Proper Completion of Work as per RESSPO Manual.
8.01 | PIPE EARTHING |  | 40 | JOB |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.02 | CHEMICAL EARTHING |  | 350 | JOB |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.03 | Delta Earthing |  | 10 | No |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Providing and Fixing of LT SPACER PVC for LT Line and Proper Completion of Work as per RESSPO Manual. |  | 900 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Installation of 3 Phase Distribution Box with Accessories and Proper Completion of Work as per RESSPO Manual.
10.01 | 3 PHASE DISTRIBUTION BOX |  | 550 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10.02 | CLAMP WITH NUT & BOLT |  | 200 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10.03 | LT LEAD FOR DISTRIBUTION BOX |  | 1000 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Installation of 11 KV FUSE SET at different Site of Work/DT and Proper Completion of Work as per RESSPO Manual. |  | 50 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Providing and Installation of WTI/OTI and Proper Completion of Work as per RESSPO Manual.
12.01 | WTI |  | 2 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12.02 | OTI |  | 2 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Removing and Cartage of Old Materiel of Different Typefrom Site of Work to JE Store/Store Center Modinagar/Any Other Place including loading and unloading at both end.
13.01 | DAMAGE PT 11/0.110 KV 3 PHASE |  | 1 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.02 | BATTERY CHARGER AND BATTERY SET |  | 7 | SET |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.03 | OLD 33 KV BUS ISOLATOR |  | 1 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.04 | OLD 33 KV LINE ISOLATOR |  | 4 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.05 | OLD FUSE SET 33 KV |  | 28 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.06 | DAMAGE 33 KV CONTROL PANEL |  | 1 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information