## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY URBAN DISTRIBUTION CIRCLE-I, A-BLOCK, HYDEL COLONY KAVINAGAR, GHAZIABAD
Name of Work : For the work of Residancial building at 47 vahani PAC Govindpuram Augumentation in the Area of EE, EUDD-I, Ghaziabad. Under the jurisdiction of SE, EUDC-I, Ghaziabad.
Tender no. 19/2024-25/EUDC-I/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | MONTH |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 6 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 54 | 9
1 | Carriage of 250 KVA 11/0.4 New Transformer from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001113 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Carriage of ST Pole SP-55 11 mtr Long from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001114 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Carriage of 11 KV XLPE Aluminium Cable Size 3x35 from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001115 | 450 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Carriage of Cable LT XLPE 3.5x150 sqmm from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001116 | 100 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Carriage of line material as per site requirement:- Earth Rod 2500x20 mm- 2 Nos, Cable Box O/D 11 KV 3x35 XLPE- 4 Nos, ACSR Weasel Conductor- 40 Mtr, Fuse Set 11KV- 1 Set, 11KV Composite Polymer Pin Insulator- 12 Nos, MS Angle 65x65x6 mm- 45 Kg, 11KV TPMO Switch- 1 Nos etc other material... from Store center to work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001117 | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Erection of ST Pole11 Mtr Long complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001118 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Providing and Grounting/Concreting 1:4:8 cement send bric ballast and making of plinth 300 mm above ground lavel of Pole complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001119 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Providing and Earthing of pole with earth rod and all accessories complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001120 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Providing/Constuction Complete Plinth of Transformer Size 2x2x1.5m with fixing of two nos. Channel of the top of the plinth RCC slab of 4" Thick on the top of the plinth Plastering outer surface of walls and its proper curing for erection and commissioning with all required Material at site with all accessories complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001121 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Safely Placing of 250 kva 11/0.4 new T/F on the plinth by the help of Crane/Chain Cuppie complete in all respect as per Respo Norms at site. | BI01010001010000000000000515BI0100001122 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Providing and Complete Wiremesh T/F Fencing 2.5 Mtr with Fabrication, erection, grouting, plinthing & painting MS agnle at site with all accessories complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001123 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Providing and Complete Chemical Earthing with all accessories complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001124 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Laying of 3x35 Sqmm All. XLPE Cable Double ckt (195*2 + 60 Mtr loop and riser) open cut size 500 mm wide 900 mm after laying of cable box with Sand and bricks stone slab sepration of two cable by brick wall. The inter axial spacing between two cable should be in between 0.25 m to 0.40 m complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001125 | 450 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Laying, Lifting and sagging of Cable LT XLPE 3.5x150 sqm complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001126 | 100 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Fixing/Installation of all line material as:-Earth Rod 2500x20 mm- 2 Nos, Cable Box O/D 11 KV 3x35 XLPE- 4 Nos, ACSR Weasel Conductor- 40 Mtr, Fuse Set 11KV- 1 Set, 11KV Composite Polymer Pin Insulator- 12 Nos, MS Angle 65x65x6 mm- 45 Kg, 11KV TPMO Switch- 1 Nos etc... complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001127 | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | Supply and fixing G.I. Barbed Wire complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001128 | 5 | KG |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Supply and fixing Danger Board with Clamp for 11KV Line complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001129 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | Supply and fixing Stone Pad complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001130 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19 | Supply and fixing Nut Bolt with Washer off size complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001122 | 10 | KG |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20 | Supply and fixing MS Holding Clamps complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001123 | 24 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21 | Supply and fixing MS Channel 100x50mm complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001124 | 45 | KG |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22 | Supply and fixing Sundry Items complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001125 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23 | Supply and fixing G.I. Pipe 6" DIA complete in all respect as per respo Norms. | BI01010001010000000000000515BI0100001126 | 12 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24 | Supply and Fixing/complete Installation of LT Tailless Unit 300 Amp with Copper Bus Bar (3 Unit for 250 KVA Tanformer) Complete Sturcture including supply and errection with all accessories complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001127 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information