## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY URBAN DISTRIBUTION CIRCLE-III, 33/11 KV SUB-STATION, GANDHI NAGAR, GHAZIABAD
Name of Work: Fortification of 33/11 kv Substation and Supply and Installation of RMUs Under Business Plan Scheme 2024-25 (Part-2) in the area of EUDD-X, Ghaziabad. Under the jurisdiction of SE, EUDC-III, Ghaziabad.
Contract No: 13/W/2024-25/EUDC-III GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) Applicable GST shall be payable extra on production / submission of evidence.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Quantity |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE (Without GST) In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 5 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Carriage of ACSR Dog Conductor from Store center to work site loading and unloading both side. distance 1 km to 50 km. | Carriage of ACSR Dog Conductor from Store center to work site loading and unloading both side. distance 1 km to 50 km. | 13200 | Mtr | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2 | Carriage of 11 kv XLPE Cable 3x185 sqmm from Store center to work site loading and unloading both side. distance 1 km to 50 km. | Carriage of 11 kv XLPE Cable 3x185 sqmm from Store center to work site loading and unloading both side. distance 1 km to 50 km. | 200 | Mtr | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3 | Carriage of 11 Mtr ST Pole from Store center to work site loading and unloading both side. distance 1 km to 50 km. | Carriage of 11 Mtr ST Pole from Store center to work site loading and unloading both side. distance 1 km to 50 km. | 2 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4 | Carriage of other line material as:- MS Angle Size 65x65x6 MM- 60 Kg, 11 kv V Type Cross Arm- 16 Nos, 11 kv Polymeric Disc Insulator- 24 Nos, 11 kv Polymeric Disc Insulator Fitting- 24 Nos, 11 kv Polymeric Pin Insulator- 64 Nos, 11 kv XLPE Cable 3x185 sqmm J/Kit- 8 Nos from Store center to work site loading and unloading both side. distance 1 km to 50 km. | Carriage of other line material as:- MS Angle Size 65x65x6 MM- 60 Kg, 11 kv V Type Cross Arm- 16 Nos, 11 kv Polymeric Disc Insulator- 24 Nos, 11 kv Polymeric Disc Insulator Fitting- 24 Nos, 11 kv Polymeric Pin Insulator- 64 Nos, 11 kv XLPE Cable 3x185 sqmm J/Kit- 8 Nos from Store center to work site loading and unloading both side. distance 1 km to 50 km. | 1.5 | Ton | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5 | Dismantling of old & Damaged ACSR Dog Conductor and Safley carriage from work site to Store center/JE store loading and unloading both side. | Dismantling of old & Damaged ACSR Dog Conductor and Safley carriage from work site to Store center/JE store loading and unloading both side. | 4400 | Kg | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6 | Erection of ST pole 11 Mtr long at site complete in all respect as per RESPO norms. | Erection of ST pole 11 Mtr long at site complete in all respect as per RESPO norms. | 2 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7 | Providing Concreating of ST Pole complete in all respect as per RESPO norms. | Providing Concreating of ST Pole complete in all respect as per RESPO norms. | 2 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8 | Laying, Lifting and sagging of ACSR Dog conductor at various site complete in all respect as per RESPO norms. | Laying, Lifting and sagging of ACSR Dog conductor at various site complete in all respect as per RESPO norms. | 13200 | Mtr | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
9 | Laying of 11 kv XLPE 3x185 sqmm cable at site complete in all respect as per RESPO norms. | Laying of 11 kv XLPE 3x185 sqmm cable at site complete in all respect as per RESPO norms. | 200 | Mtr | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
10 | Fixing of MS Angle Size 65x65x6 MM at site complete in all respect as per RESPO norms. | Fixing of MS Angle Size 65x65x6 MM at site complete in all respect as per RESPO norms. | 60 | Kg | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
11 | Fixing of 11 kv V Type Cross Arm at site complete in all respect as per RESPO norms. | Fixing of 11 kv V Type Cross Arm at site complete in all respect as per RESPO norms. | 16 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
12 | Fixing of 11 kv Polymeric Disc Insulator at site complete in all respect as per RESPO norms. | Fixing of 11 kv Polymeric Disc Insulator at site complete in all respect as per RESPO norms. | 24 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
13 | Fixing of 11 kv Polymeric Disc Insulator Fitting at site complete in all respect as per RESPO norms. | Fixing of 11 kv Polymeric Disc Insulator Fitting at site complete in all respect as per RESPO norms. | 24 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
14 | Fixing of 11 kv Polymeric Pin Insulator at site complete in all respect as per RESPO norms. | Fixing of 11 kv Polymeric Pin Insulator at site complete in all respect as per RESPO norms. | 64 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
15 | Fixing of 11 kv XLPE Cable 3x185 sqmm J/Kit at site complete in all respect as per RESPO norms. | Fixing of 11 kv XLPE Cable 3x185 sqmm J/Kit at site complete in all respect as per RESPO norms. | 8 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
16 | Supply & fixing of 12kv 630 Amps 21KA for 3 Sec. SF6 , BIL 28 KV/75 KV peak, extensible, outdoor duty 3-way, fully motorised and manually operated Ring Mains Unit originally manufactured by OEM in its factory only, comprising of 02 load break switch and 01 vaccum circuit breaker consisting of copper busbar in SF6 insulated tank with a provision electromechanical interlock to avoid accidental closure of earthing switch even when cable is in live condition. RMU should be Type Tested for Internal arc of 21 KA for 1 Sec with AFLR classification and gas to be from rear bottom of the switchgear away from the operator to ensure safety of the operating personnel. Suitable Ct 200-50/1 A with microprocessor based numerical over current relay (IDMTL + Inst.) for Protection to be provided with VCB Feeder with right angle boot for termination Kits. All the necessary wirings and Dummy panel/space for FRTU to be given along with RMU for future compatibility with SCADA system (Supply of FRTU is not in scope). Battery, Charger etc. for Motorised Operation of RMU to be provided. The scope is including Plinth/ Angle iron Stand as per OEM design complete in all respect as per the direction of Engineer incharge. Complete RMU and its accessories should be suitable for altitude of 100 mtrs above Sea Level. (Makes: ABB/Siemens/Eaton/Schneider or authorized by UPPCL). complete in all respect. | Supply & fixing of 12kv 630 Amps 21KA for 3 Sec. SF6 , BIL 28 KV/75 KV peak, extensible, outdoor duty 3-way, fully motorised and manually operated Ring Mains Unit originally manufactured by OEM in its factory only, comprising of 02 load break switch and 01 vaccum circuit breaker consisting of copper busbar in SF6 insulated tank with a provision electromechanical interlock to avoid accidental closure of earthing switch even when cable is in live condition. RMU should be Type Tested for Internal arc of 21 KA for 1 Sec with AFLR classification and gas to be from rear bottom of the switchgear away from the operator to ensure safety of the operating personnel. Suitable Ct 200-50/1 A with microprocessor based numerical over current relay (IDMTL + Inst.) for Protection to be provided with VCB Feeder with right angle boot for termination Kits. All the necessary wirings and Dummy panel/space for FRTU to be given along with RMU for future compatibility with SCADA system (Supply of FRTU is not in scope). Battery, Charger etc. for Motorised Operation of RMU to be provided. The scope is including Plinth/ Angle iron Stand as per OEM design complete in all respect as per the direction of Engineer incharge. Complete RMU and its accessories should be suitable for altitude of 100 mtrs above Sea Level. (Makes: ABB/Siemens/Eaton/Schneider or authorized by UPPCL). complete in all respect. | 1 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
17 | Providing of earth electrode for chemical earthing Pipe in pipe type proper hot dip Galvanization dia 50 mm length 3 mtr – 32mm x 6mm terminal connection hole dia 8mm The cavity between the pipe & Pipe is filled with conductive Mixture – for hermetically Filling inside the cavity i.e. between secondary conductor & Primary conductor, crystalline compound is to be injected in the electrode assembly. It is a combination of high conductivity metal alloys, copper & aluminum power, conductive carbon / cement and bonding material etc. The electrode should be sealed from both the ends. The outer pipe of the electrode should be galvanized the characteristics of this compound is highly conductive, nonmagnetic & noncorrosive in G.I. Including providing of backfill compound. Each electrode should be supplied with bags of 25 kg x 2 bfc compound (ground resistance enhancement powder 50 kgs each CPRI tested for RMUs installed. | Providing of earth electrode for chemical earthing Pipe in pipe type proper hot dip Galvanization dia 50 mm length 3 mtr – 32mm x 6mm terminal connection hole dia 8mm The cavity between the pipe & Pipe is filled with conductive Mixture – for hermetically Filling inside the cavity i.e. between secondary conductor & Primary conductor, crystalline compound is to be injected in the electrode assembly. It is a combination of high conductivity metal alloys, copper & aluminum power, conductive carbon / cement and bonding material etc. The electrode should be sealed from both the ends. The outer pipe of the electrode should be galvanized the characteristics of this compound is highly conductive, nonmagnetic & noncorrosive in G.I. Including providing of backfill compound. Each electrode should be supplied with bags of 25 kg x 2 bfc compound (ground resistance enhancement powder 50 kgs each CPRI tested for RMUs installed. | 4 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
18 | Providing and fabricating the Fencing of RMU at site complete in all respect as per respo norms. | Providing and fabricating the Fencing of RMU at site complete in all respect as per respo norms. | 1 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
19 | Providing & fixing of Dead and Clamp with Eye hook at site complete in all respect as per RESPO norms. | Providing & fixing of Dead and Clamp with Eye hook at site complete in all respect as per RESPO norms. | 12 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
20 | Providing & fixing of GI Turn Buckle at site complete in all respect as per RESPO norms. | Providing & fixing of GI Turn Buckle at site complete in all respect as per RESPO norms. | 24 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
21 | Providing & fixing of GI Wire 6 SWG and 10 SWG for Garding at site complete in all respect as per RESPO norms. | Providing & fixing of GI Wire 6 SWG and 10 SWG for Garding at site complete in all respect as per RESPO norms. | 63 | Kg | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
22 | Providing & fixing of 11 kv Holding Clamp at site complete in all respect as per RESPO norms. | Providing & fixing of 11 kv Holding Clamp at site complete in all respect as per RESPO norms. | 32 | Nos | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
23 | Providing & fixing of GI Pipe 6" Dia at site complete in all respect as per RESPO norms. | Providing & fixing of GI Pipe 6" Dia at site complete in all respect as per RESPO norms. | 8 | Mtr | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
24 | Making of all HT/LT connections required to energize the line and restoring of electricity supply to consumer properly complete in all respect. | Making of all HT/LT connections required to energize the line and restoring of electricity supply to consumer properly complete in all respect. | 1 | Job | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | #REF! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information