## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER ELECTRICITY DISTRIBUTION CIRCLE-I, SAHARANPUR
Name of Work: fo¦qr forj.k [k.M&nsocUn ds vUrxZr fo¦qr forj.k mi[k.M&ukxy ds dk;Z{ks= esa iw.kZ tek ;kstuk ds vUrxZr 33@11 ds0oh0 fo¦qr midsUnz yk[kukSj ls Mh0,Q0lh0lh0,y0 C/O Jh egkohj flag xzke vyhiqjk dks 500 ds0oh0,0 dk u;k la;kstu voeqDr djus gsrq 11 ds0oh0 LorU= iks”kd dk fuekZ.k djus dk dk;ZA
Contract No: 49/W/EDC-I/SRE/2022-23
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) GST as applicable shall be paid extra.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Detail of Work | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Safely cartage of ST poles SP-55, 11 Mtr. long from ESC, SRE to the site of work including loading & unloading at both ends.(Distance upto 40 KM.) | BI01010001010000000000000515BI0100001113 | 95 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Safely cartage of complete line material (Except ST poles, XLPE Cable, VCB, CT&PT Unit & Mitring Cubical) from ESC, SRE to the site of work/ Dumping Place/ Other Place to local dumping ground or 33 KV S/S/ other place of site including loading & unloading at both ends. (Dist. upto 40 KM.) |  | 21 | Ton |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.03 | Safely cartage of 11 KV XLPE of size 3X120 sq mm Cable from ESC, SRE to the site of work including loading & unloading at both ends.(Distance upto 40 KM.) |  | 3750 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.04 | Safe cartage of 11 KV CT/PT Unit from ESC SRE to the site of work including loading & unloading at both ends. (Dist. Upto 40 km.) |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.05 | Safe cartage of 11 KV Metering cubical from ESC SRE to the site of work including loading & unloading at both ends. (Dist. Upto 40 km.) |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.06 | Safe cartage of 11 KV VCB from ESC SRE to the site of work including loading & unloading at both ends. (Dist. Upto 40 km.) |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.07 | Erection of single ST poles SP-55, 11 Mtr. Long with complete fitting of all accessories of 33 KV line as per RESPO Specifications. |  | 79 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.08 | Fabrication and Erection of double pole SP-55, 11 Mtr. & SP-72, 13 Mtr. long ST Poles with complete fitting of bracings & other accessories as per RESPO Specifications. |  | 8 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.09 | Fixing of 11 KV stay rods by digging of pits in block of 600X600X300 mm. & with new brick and nozzling of stay wire 7/10 SWG and fitting the same on the pole |  | 24 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.1 | Laying, lifting, Stringing, sagging jumpering & binding of ACSR Rabbit conductor on ST Pole for 11 KV Line as per RESPO specifications. |  | 9270 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.11 | Earthing of ST Poles by earthing rod 20x2500 mm as per RESPO specifications. |  | 95 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.12 | Concreting of ST poles SP-55, 11 Mtr. long with cement concreting in bolck of 600X600X1500 MM. in ratio 1:4:8 with cement, sand and brick ballast size 1''x1.5'' with plinth. |  | 95 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.13 | Providing and Fixing X-Arm Holding clamp, Channel & Angle clamp, & Guarding clamp for ST Poles made of new MS flat size 50x6 mm. | BI01010001010000000000000515BI0100001114 | 51 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.14 | Providing and Fixing F- Bracket/clamp, for ST Poles made of new MS flat size 50x6 mm. |  | 51 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.15 | Providing and Fixing Stay clamp, for ST Poles made of new MS flat size 50x6 mm. |  | 24 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.16 | Providing and Fixing Bracing clamp, for ST Poles made of new MS flat size 50x6 mm. |  | 32 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.17 | Providing and Fixing E- clamp for ST Poles made of new MS flat size 50x6 mm. |  | 24 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.18 | Providing and Fixing T- Channel clamp For ST Poles made of new MS flat size 50x6 mm. |  | 35 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.19 | Providing and Fixing D/P clamp For ST Poles made of new MS flat size 50x6 mm. |  | 32 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.2 | Providing and Fixing Guarding clamp for ST Poles made of new MS flat size 50x6 mm. |  | 10 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.21 | Providing and Fixing PG clamp for Rbbit conductor. |  | 48 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.22 | Providing and Fixing of Stone Ped 300x300x75 |  | 95 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.23 | Providing and Fixing MS nuts & bolts & washers off size |  | 210 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.24 | Providing and fixing of GI barbed wire on the each pole. |  | 190 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.25 | Providing and fixing of G.I. pipe 100 mm dia 3.5 mtr. long at the both side of double pole with clamps. |  | 60 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.26 | Providing of HDPE Pipe 100 mm dia |  | 1350 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.27 | Providing and fixing of Number plate with clamp on the each pole. |  | 95 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.28 | Providing and Fixing 11 KV Danger board with clamp for ST Poles made of new MS flat size 40x5 mm with nuts & bolts. |  | 95 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.29 | Providing of Alluminium Paint (British/Asian/enamel paint) |  | 45 | Ltrs |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.3 | Providing of Red oxide Paints (British/Asian/enamel paint) |  | 45 | Ltrs |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.31 | Painting of ST poles 11 Mtr, SP-55 with 2 coats of synthetic enamel paint after one coat of ready mix primer as well as rubbing/cleaning of surface as required for proper completion of work. and remaining by Aluminium paint including all channels/clamps etc. |  | 95 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.32 | Laying, lifting, Stringing, sagging of 11 KV XLPE Cable of size 3x120 sq mm on ST Pole for over hed Line as per RESPO specifications. |  | 2370 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.33 | Digging of trench 1.5 mtr. Deep and laying of 2 No. Parreral HDPE pipe 100 mm dia on 1 meter distance by drill machine. |  | 1350 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.34 | Laying of 11 KV XLPE cable 3X120sq mm in the HDPE pipe 100 mm dia on 1 meter distance. |  | 1380 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.35 | Providing of 11 KV heat shrinkable jointing kit outdoor & indoor of size 3x120 sq mm. (Denson Make, Raychem Make) |  | 52 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.36 | Fixing & Making of 11 KV Cable Heat shrinkable terminations kits of size 120 sqmm of outdoor & indoor side. |  | 52 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.37 | Guarding of span of 11 KV line on road crossing/ River crossing and HT/LT line crossing with G.I. wire as per RESPO Specifications. |  | 5 | Span |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.38 | Off shooting of tree branches for Clearence of proposed 33 KV line. (Approx 5 Km line) |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.39 | Safe installation of 11 KV CT/PT Unit on the double pole with complete fittings including making connections and commissioning. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.4 | Safe installation of 11 KV Metering cubical in the room with complete fittings including making connections and commissioning. | BI01010001010000000000000515BI0100001115 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.41 | Shifting and fixing and installation of new VCB Out going panel in control room at S/S complete in all respect and fixing Bus Bar and cable connection with proper alignment. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.42 | Fabrication charges of Angle |  | 18 | job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.43 | Earthing of 11 KV VCB Pannel by boring of 60 ft. deep & fixing of 60 ft.G.I. Pipe 11/2” Dia ( Jindal class B ) and connecting with G.I. Strip of size 40X5 mm and G.I. wire. at bottom of G.I. pipe to the T/F providing of required charcoal & salt in the pipe. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information