## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer Electricity Distribution Circle-II, Saharanpur
Name of Work: fo¦qr forj.k [k.M&udqM] lgkjuiqj [k.M dk;kZy; ds v/khu fctusl Iyku ;kstuk ds vUrxZr foRrh; fydst izkIr gksus ds mijkUr 33@11 ds0oh0 fo¦qr midsUnz ekudem ls fuxZr 11 ds0oh0 iks”kd udqM ls iksf”kr xzke dqEgkjgsMk es LFkkfir 100 ds0oh0,0 ifjorZd vfrHkkfjr gksus ds dkj.k 100 ds0oh0,0 ls 250 ds0oh0,0 fd;s tkus gsrq]33@11 ds0oh0 fo¦qr midsUnz [kksliqjk ij {kfrxzLr 11 ds0oh0 oh0lh0ch0 budfeax 01 u0 ,oa 11 ds0oh0 vkmVxksabx oh0lh0ch0 01 u0 cnyus gsrq ,oa 33@11 ds0oh0 fo¦qr midsUnz Vkcj ij {kfrxzLr 11 ds0oh0 oh0lh0ch0 budfeax 01 u0 ,oa 11 ds0oh0 ea/kkSj rFkk Vkcj dh vkmVxksabx iks”kd oh0lh0ch0 dks cnyus dk dk;Z
Contract No: 77/w/2022-23
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )GST as applicable shall be paid extra
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Qty. |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Detail of Work | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Opening of Connection of 100 KVA T/F properly. | 2 | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.02 | Removal of 100 KVA T/F on the D/P from Site of works to ESC, SRE including loading & unloading at both ends (Distance 0 to 35K.M.) | 2 | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.03 | Safety cartage of PCC Poles 8.5 Mtr Long from ESC, SRE/J.E. Store to the site of work at various sites including loading & unloading at both ends (Distance 0 to 35 K.M.) | 11 | 4 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.04 | Erection of single support on PCC Poles with complete fitting of all accessories of LT & HT line. | 9 | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.05 | Erection of double on PCC poles up to 8.5 Mtr Long with complete fitting with all accessories as per RESPO specification. |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.06 | Safely carriage of Line Material ESC SRE to site of works through privet vehicle including loading and unloading at both ends. (Distance 0 to 35 K.M.) | 1 | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.07 | Safety cartage of New 250 KVA T/F from ESC, SRE, to the site of work at various sites including loading & unloading at both ends (Distance approx. 35 K.M.) | 3 | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.08 | Constriction of plinth for installation of 250 kv T/F of size 1.5x1.5x1.5 mtr made of 9”inch thick wall in all four sides with 6”inch thick RCC top duly filled with sand and plastered 12mm thick in ratio 1:4 with cement and sand on outer surface of brick wall as per RESPO Specificaiton & Fencing work as per REPO specification. | 2 | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.09 | Fencing of 250 KVA T/F as per RESPO specification. | 1 | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.1 | Safely installation of New 250 KV T/F on the plinth with proper alignment and Complete fitting including making connection and commissioning | 2 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.11 | Water Level Earthing of by boring of 90 Ft. Deeo & fixing of 90 Ft. G.I pipe 1 ½ Dia (Jindal Class B) and connection with G.I strip of size 40x5 mm and G.I wire at bottom of G.I pipe to the T/F & VCB providing of charcole & salt in the pipe. | 2 | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.12 | Providing and Fixing of All type of Clamp. |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.13 | Laying, lifting, Stringing, sagging jumpring & binding of ACSR Weasel Conductor for 11 KV & LT Line including complete. | 550 | 300 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.14 | Laying, lifting, Stringing, sagging jumpring & binding of ACSR Dog Conductor for 11 KV & LT Line including complete. | 300 | 300 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.15 | Laying and making connection of LT PVC cable properly. | 40 | 62 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.16 | Safely carriage of 11 KV 02 No Incoming New VCB and 03 No O/G VCB from ESC SRE to 33/11 KV S/S Verious site including loading and unloading at both end (Distance up to 40 Km.). |  | 4 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.17 | Removal of old & Damaged 11KV I/C & O/G VCB from site to after opening of all connection and nuts and bolts with concreting and shifting the same from 33/11 KV S/S Verious Site to ESC SRE including loading and unloading at both end. |  | 4 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.18 | Shifting, fixing and installation of 11 KV 02 No Incoming New VCB and 3 No O/G VCB at Verious site under EDD-Nakur complete with proper alignment and concreting with nut and bolts in all respect and making cable connection. |  | 4 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information